## pr_existing_gens
plant_id | plant_name | county | gen_id | unit_id | summer_capacity_mw | technology | fuel | prime_mover | operating_date | retirement_date | status | energy_capacity_mwh | DC Net Capacity (MW) | heat_rate
61014 | Pattern Santa Isabel LLC | Santa Isabel | 1 |  | 75 | Onshore Wind Turbine | WND | WT | 2012-11-01 |  | (OP) Operating
61034 | EcoElectrica | Penuelas | CT1 | CT1 | 183 | Natural Gas Fired Combined Cycle | NG | CT | 2018-09-01 |  | (OP) Operating |  |  | 11.8686
61034 | EcoElectrica | Penuelas | CT2 | CT2 | 183 | Natural Gas Fired Combined Cycle | NG | CT | 2000-03-01 |  | (OP) Operating |  |  | 11.8686
61034 | EcoElectrica | Penuelas | STG | STG | 214 | Natural Gas Fired Combined Cycle | NG | CA | 2000-03-01 |  | (OP) Operating |  |  | 11.8686
61036 | AES ILUMINA | Guayama | ILUMI |  | 17.5 | Solar Photovoltaic | SUN | PV | 2012-11-01 | 2042-11-01 | (OP) Operating |  | 23.7
61062 | Coto Laurel Solar Farm | Ponce | CLSF |  | 10 | Solar Photovoltaic | SUN | PV | 2020-02-01 |  | (OP) Operating |  | 14.3
61063 | Martino | Ponce | MATNO |  | 3.6 | Solar Photovoltaic | SUN | PV | 2011-01-01 |  | (OP) Operating |  | 4.1
61064 | Pfizer Guayama | Guayama | PFGY |  | 2.7 | Solar Photovoltaic | SUN | PV | 2016-01-01 |  | (OP) Operating |  | 3.3
61065 | Pfizer Vega Baja | Vega Baja | PFVB |  | 3.1 | Solar Photovoltaic | SUN | PV | 2016-01-01 |  | (OP) Operating |  | 3.9
61082 | AES Puerto Rico | Guayama | UNIT1 |  | 454.4 | Conventional Steam Coal | BIT | ST | 2001-11-01 |  | (OP) Operating |  |  | 11.0089
61083 | Oriana Energy Hybrid | Isabela | BAT1 |  | 21.8 | Batteries | MWH | BA | 2016-12-01 |  | (OP) Operating | 4.2
61083 | Oriana Energy Hybrid | Isabela | G001 |  | 45 | Solar Photovoltaic | SUN | PV | 2016-12-01 |  | (OP) Operating |  | 57.7
61102 | GASNA 18P, LLC | San Juan | UNIT1 |  | 5 | Solar Photovoltaic | SUN | PV | 2014-04-01 |  | (OP) Operating |  | 5.6
61109 | Fajardo MSWL | Fajardo | PE558 |  | 2.4 | Landfill Gas | LFG | IC | 2016-10-01 |  | (OP) Operating
61110 | San Fermin Solar Farm Hybrid | Canovanas | BESS |  | 3.6 | Batteries | MWH | BA | 2015-12-01 |  | (OP) Operating | 0.3
61110 | San Fermin Solar Farm Hybrid | Canovanas | DSL |  | 4 | Petroleum Liquids with IC | DFO | IC | 2015-12-01 |  | (OP) Operating |  |  | 10.1538
61110 | San Fermin Solar Farm Hybrid | Canovanas | PV |  | 20 | Solar Photovoltaic | SUN | PV | 2015-12-01 |  | (OP) Operating |  | 27
61112 | El Yunque Filtration Plant | Rio Grande | YUNQ |  | 2 | Solar Photovoltaic | SUN | PV | 2013-11-01 |  | (OP) Operating |  | 2.6
61113 | Arecibo Filtration Plant | Arecibo | AREC |  | 1 | Solar Photovoltaic | SUN | PV | 2014-01-01 |  | (OP) Operating |  | 1.3
61114 | Canovanas Filtration Plant | Canovanas | CANO |  | 1 | Solar Photovoltaic | SUN | PV | 2013-02-01 |  | (OP) Operating |  | 1.2
61122 | Toa Baja MSWL | Toa Baja | PE563 |  | 0.8 | Landfill Gas | LFG | IC | 2020-11-01 |  | (OP) Operating
61122 | Toa Baja MSWL | Toa Baja | PE564 |  | 1.6 | Landfill Gas | LFG | IC | 2020-11-01 |  | (OP) Operating
61132 | Punta Lima Wind Farm | Naguabo | WTGS |  | 23.4 | Onshore Wind Turbine | WND | WT | 2012-12-01 |  | (OS) Out of service and NOT expected to return to service in next calendar year
61133 | Humacao Solar Project, LLC | Humacao | HUM01 |  | 20 | Solar Photovoltaic | SUN | PV | 2016-12-01 |  | (OP) Operating |  | 25.5
61136 | Horizon Energy (PR) Hybrid | Salinas | BAT1 |  | 5.1 | Batteries | MWH | BA | 2015-08-01 |  | (OP) Operating | 1.3
61136 | Horizon Energy (PR) Hybrid | Salinas | G001 |  | 10 | Solar Photovoltaic | SUN | PV | 2015-08-01 |  | (OP) Operating |  | 15.5
61137 | Medtronic Solar | Juncos | PV1 |  | 4 | Solar Photovoltaic | SUN | PV | 2019-12-01 |  | (OP) Operating |  | 5
61146 | Aguirre Plant | Salinas | 1 |  | 424.9 | Petroleum Liquids with ST | RFO | ST | 1975-05-01 |  | (OP) Operating |  |  | 11.2863
61146 | Aguirre Plant | Salinas | 2 |  | 424.9 | Petroleum Liquids with ST | RFO | ST | 1975-10-01 |  | (OP) Operating |  |  | 11.2863
61146 | Aguirre Plant | Salinas | CA-1 | CC1 | 92.3 | Petroleum Liquids with CC | DFO | CA | 1977-07-01 |  | (OP) Operating |  |  | 14.756
61146 | Aguirre Plant | Salinas | CA-2 | CC2 | 92.3 | Petroleum Liquids with CC | DFO | CA | 1977-05-01 |  | (OP) Operating |  |  | 14.756
61146 | Aguirre Plant | Salinas | CT1-1 | CC1 | 192.4 | Petroleum Liquids with CC | DFO | CT | 1977-07-01 |  | (OP) Operating |  |  | 14.756
61146 | Aguirre Plant | Salinas | CT2-1 | CC2 | 192.4 | Petroleum Liquids with CC | DFO | CT | 1977-05-01 |  | (OP) Operating |  |  | 14.756
61146 | Aguirre Plant | Salinas | GT2-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1972-07-01 |  | (OP) Operating |  |  | 11.382
61147 | Costa Sur Plant |  | 3 |  | 80.8 | Petroleum Liquids with ST | RFO | ST | 1962-03-01 |  | (OP) Operating |  |  | 11.6703
61147 | Costa Sur Plant |  | 4 |  | 78.1 | Petroleum Liquids with ST | RFO | ST | 1963-12-01 |  | (OP) Operating |  |  | 11.6703
61147 | Costa Sur Plant |  | 5 |  | 384 | Natural Gas Steam Turbine | NG | ST | 1972-09-01 |  | (OP) Operating |  |  | 11.6703
61147 | Costa Sur Plant |  | 6 |  | 381.6 | Natural Gas Steam Turbine | NG | ST | 1973-09-01 |  | (OP) Operating |  |  | 11.6703
61147 | Costa Sur Plant |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1972-05-01 |  | (OP) Operating |  |  | 11.3735
61148 | Central San Juan Plant |  | 10 |  | 78.6 | Petroleum Liquids with GT | RFO | ST | 1969-02-01 |  | (OP) Operating |  |  | 11.7243
61148 | Central San Juan Plant |  | 7 |  | 91.5 | Petroleum Liquids with ST | RFO | ST | 1965-05-01 | 2025-12-01 | (OP) Operating |  |  | 11.7243
61148 | Central San Juan Plant |  | 8 |  | 92.7 | Petroleum Liquids with ST | RFO | ST | 1966-08-01 | 2025-12-01 | (OP) Operating |  |  | 11.7243
61148 | Central San Juan Plant |  | 9 |  | 91.7 | Petroleum Liquids with ST | RFO | ST | 1968-06-01 |  | (OP) Operating |  |  | 11.7243
61148 | Central San Juan Plant |  | CA5 | CC5 | 117.2 | Petroleum Liquids with CC | DFO | CA | 2008-10-01 |  | (OP) Operating |  |  | 9.9252
61148 | Central San Juan Plant |  | CT5 | CC5 | 312.2 | Petroleum Liquids with CC | DFO | CT | 2008-10-01 |  | (OP) Operating |  |  | 9.9252
61149 | Palo Seco Plant |  | 1 |  | 78.3 | Petroleum Liquids with ST | RFO | ST | 1960-06-01 |  | (OP) Operating |  |  | 10.9852
61149 | Palo Seco Plant |  | 1-1 |  | 21 | Petroleum Liquids with GT | DFO | GT | 1972-12-01 |  | (OP) Operating |  |  | 12.4436
61149 | Palo Seco Plant |  | 1-2 |  | 21 | Petroleum Liquids with GT | DFO | GT | 1972-12-01 |  | (OP) Operating |  |  | 12.4436
61149 | Palo Seco Plant |  | 2 |  | 78.8 | Petroleum Liquids with ST | RFO | ST | 1961-03-01 |  | (OP) Operating |  |  | 10.9852
61149 | Palo Seco Plant |  | 2-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1972-12-01 |  | (OP) Operating |  |  | 12.4436
61149 | Palo Seco Plant |  | 3 |  | 196.3 | Petroleum Liquids with ST | RFO | ST | 1970-02-01 |  | (OP) Operating |  |  | 10.9852
61149 | Palo Seco Plant |  | 3-1 |  | 21 | Petroleum Liquids with GT | DFO | GT | 1973-02-01 |  | (OP) Operating |  |  | 12.4436
61149 | Palo Seco Plant |  | 3-2 |  | 21 | Petroleum Liquids with GT | DFO | GT | 1973-03-01 |  | (OP) Operating |  |  | 12.4436
61149 | Palo Seco Plant |  | 4 |  |  | Petroleum Liquids with ST | RFO | ST | 1970-07-01 |  | (OP) Operating |  |  | 10.9852
61150 | Cambalache Plant | Arecibo | GT-1 |  | 80.5 | Petroleum Liquids with GT | DFO | GT | 1997-04-01 |  | (OP) Operating |  |  | 12.7833
61150 | Cambalache Plant | Arecibo | GT-2 |  | 80.5 | Petroleum Liquids with GT | DFO | GT | 1977-05-01 |  | (OP) Operating |  |  | 12.7833
61150 | Cambalache Plant | Arecibo | GT-3 |  | 80.5 | Petroleum Liquids with GT | DFO | GT | 1997-06-01 |  | (OP) Operating |  |  | 12.7833
61151 | Mayaguez Plant |  | GT-1 |  | 220 | Petroleum Liquids with GT | DFO | GT | 2009-04-01 |  | (OP) Operating |  |  | 10.2781
61171 | Jobos |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1973-04-01 |  | (OP) Operating
61225 | Caonillas |  | 1 |  | 18 | Conventional Hydroelectric | WAT | HY | 1949-01-01 |  | (OP) Operating
61225 | Caonillas |  | 3 |  | 4 | Conventional Hydroelectric | WAT | HY | 1952-09-01 |  | (OP) Operating
61226 | Culebra | Culebra | 1 |  | 2.1 | Petroleum Liquids with IC | RFO | IC | 1972-01-01 |  | (OP) Operating
61227 | Daguao |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1972-08-01 |  | (OP) Operating
61228 | Dos Bocas | Arecibo | 1 |  | 5 | Conventional Hydroelectric | WAT | HY | 1942-08-01 |  | (OP) Operating
61228 | Dos Bocas | Arecibo | 2 |  | 5 | Conventional Hydroelectric | WAT | HY | 1944-11-01 |  | (OP) Operating
61228 | Dos Bocas | Arecibo | 3 |  | 5 | Conventional Hydroelectric | WAT | HY | 1945-11-01 |  | (OP) Operating
61229 | Garzas |  | 1 |  | 7.2 | Conventional Hydroelectric | WAT | HY | 1941-02-01 |  | (OP) Operating
61229 | Garzas |  | 3 |  | 5 | Conventional Hydroelectric | WAT | HY | 1941-03-01 |  | (OP) Operating
61230 | Patillas |  | 1 |  | 1.6 | Conventional Hydroelectric | WAT | HY | 1985-04-01 |  | (OP) Operating
61231 | Toro Negro |  | 1 |  | 8.5 | Conventional Hydroelectric | WAT | HY | 1937-01-01 |  | (SB) Standby/Backup: available for service but not normally used
61232 | Vega Baja |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1971-10-01 |  | (OP) Operating
61233 | Vieques |  | 1 |  | 6.4 | Petroleum Liquids with IC | RFO | IC | 2004-09-01 |  | (OP) Operating
61234 | Yabucoa |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1971-10-01 |  | (OP) Operating
61235 | Yauco |  | 1 |  | 29.5 | Conventional Hydroelectric | WAT | HY | 1956-02-01 |  | (OP) Operating
61235 | Yauco |  | 2 |  | 4.5 | Conventional Hydroelectric | WAT | HY | 1956-04-01 |  | (OP) Operating
61236 | Rio Blanco |  | 1 |  | 5 | Conventional Hydroelectric | WAT | HY | 1929-12-01 |  | (OP) Operating
61254 | Fort Buchanan Distributed Generation | Guaynabo | SOLAR |  | 5.8 | Solar Photovoltaic | SUN | PV | 2014-08-01 |  | (OP) Operating |  | 5.9
61254 | Fort Buchanan Distributed Generation | Guaynabo | WIND |  | 0.6 | Onshore Wind Turbine | WND | WT | 2014-08-01 |  | (OP) Operating
61273 | USCG Puerto Rico PV | Aguadilla | 865 |  | 1.7 | Solar Photovoltaic | SUN | PV | 2011-01-01 |  | (OA) Out of service but expected to return to service in next calendar year |  | 2.8
61639 | Holsum de Puerto Rico, Inc. | Toa Baja | EU16 |  | 4 | Petroleum Liquids with IC | DFO | IC | 2021-12-01 |  | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | 2GEN1 |  | 1.5 | Petroleum Liquids | DFO | IC | 2005-07-01 |  | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | 2GEN2 |  | 3 | Petroleum Liquids with IC | DFO | IC | 2004-08-01 |  | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | GEN-1 |  | 3 | Petroleum Liquids with IC | DFO | IC | 1998-07-01 | 2026-12-01 | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | GEN-2 |  | 1.5 | Petroleum Liquids with IC | DFO | IC | 1998-06-01 | 2026-12-01 | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | GEN-4 |  | 2 | Petroleum Liquids with IC | DFO | IC | 2007-08-01 | 2026-12-01 | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | GEN-5 |  | 1.5 | Petroleum Liquids with IC | DFO | IC | 1997-06-01 | 2026-12-01 | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | J1POR |  | 1 | Petroleum Liquids with IC | DFO | IC | 2017-11-01 |  | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | PGEN1 |  | 3 | Petroleum Liquids with IC | DFO | IC | 2007-04-01 |  | (SB) Standby/Backup: available for service but not normally used
61659 | Janssen Ortho LLC | Gurabo | SOLAR |  | 2.2 | Solar Photovoltaic | SUN | PV | 2015-12-01 |  | (OP) Operating |  | 2.6
61808 | HIMA San Pablo - Caguas | Caguas | CAG1 |  | 9 | Petroleum Liquids with IC | DFO | IC | 2007-10-01 |  | (SB) Standby/Backup: available for service but not normally used
62410 | Cervecera de Puerto Rico | Mayaguez | CHP01 |  | 1.8 | Petroleum Liquids with IC | PG | IC | 2020-07-01 |  | (OP) Operating
62410 | Cervecera de Puerto Rico | Mayaguez | GCC01 |  | 1.9 | Petroleum Liquids with IC | DFO | IC | 2005-01-01 |  | (SB) Standby/Backup: available for service but not normally used
62841 | HIMA San Pablo Bayamon | Bayamon | BAY1 |  | 4.5 | Petroleum Liquids with IC | DFO | IC | 1996-01-01 |  | (SB) Standby/Backup: available for service but not normally used
62850 | HIMA San Pablo Fajardo | Fajardo | FAJ1 |  | 3 | Petroleum Liquids with IC | DFO | IC | 1998-10-01 |  | (SB) Standby/Backup: available for service but not normally used
62851 | HIMA San Pablo Cupey | Cupey | CUP1 |  | 0.6 | Petroleum Liquids with IC | DFO | IC | 2011-04-01 |  | (SB) Standby/Backup: available for service but not normally used
62851 | HIMA San Pablo Cupey | Cupey | CUP2 |  | 0.6 | Petroleum Liquids with IC | DFO | IC | 2018-12-01 |  | (SB) Standby/Backup: available for service but not normally used
62852 | HIMA San Pablo Humacao | Humacao | HUM1 |  | 1.6 | Petroleum Liquids with IC | DFO | IC | 2018-06-01 |  | (SB) Standby/Backup: available for service but not normally used
64613 | Eaton Corp - Arecibo - Puerto Rico Hybrid | Arecibo | G1 |  | 6 | Petroleum Liquids with IC | DFO | IC | 1998-01-01 |  | (SB) Standby/Backup: available for service but not normally used
64613 | Eaton Corp - Arecibo - Puerto Rico Hybrid | Arecibo | G5 |  | 0.2 | Petroleum Liquids with IC | DFO | IC | 2016-01-01 |  | (SB) Standby/Backup: available for service but not normally used
64613 | Eaton Corp - Arecibo - Puerto Rico Hybrid | Arecibo | G7 |  | 2 | Petroleum Liquids with IC | DFO | IC | 2015-01-01 |  | (SB) Standby/Backup: available for service but not normally used
66051 | Hospital Auxilio Mutuo |  | GEN-4 |  | 6 | Petroleum Liquids with IC | DFO | IC | 1999-10-01 |  | (SB) Standby/Backup: available for service but not normally used
66056 | iPR Pharmaceuticals Inc. |  | GSET1 |  | 3.2 | Natural Gas Internal Combustion Engine | NG | IC | 2018-04-01 |  | (OP) Operating
66057 | AbbVie LTD |  | AB07 |  | 1.8 | Petroleum Liquids with IC | DFO | IC | 1994-05-01 |  | (SB) Standby/Backup: available for service but not normally used
66057 | AbbVie LTD |  | ABL1 |  | 2 | Petroleum Liquids with IC | DFO | IC | 2004-11-01 |  | (SB) Standby/Backup: available for service but not normally used
66057 | AbbVie LTD |  | ABL3 |  | 2 | Petroleum Liquids with IC | DFO | IC | 2011-11-01 |  | (SB) Standby/Backup: available for service but not normally used
66057 | AbbVie LTD |  | BS |  | 2 | Petroleum Liquids with IC | DFO | IC | 1991-11-01 |  | (SB) Standby/Backup: available for service but not normally used
66057 | AbbVie LTD |  | CG1 |  | 9.2 | Natural Gas Internal Combustion Engine | NG | IC | 2020-01-01 |  | (OP) Operating
66057 | AbbVie LTD |  | CG2 |  | 9.2 | Natural Gas Internal Combustion Engine | NG | IC | 2019-11-01 |  | (OP) Operating
66057 | AbbVie LTD |  | EG1 |  | 2.2 | Petroleum Liquids with IC | DFO | IC | 2020-01-01 |  | (SB) Standby/Backup: available for service but not normally used
66057 | AbbVie LTD |  | EG2 |  | 2.2 | Petroleum Liquids with IC | DFO | IC | 2019-11-01 |  | (SB) Standby/Backup: available for service but not normally used
66090 | Bayamon Medical Center |  | CAT1 |  | 1 | Petroleum Liquids with IC | DFO | IC | 2008-08-01 |  | (SB) Standby/Backup: available for service but not normally used
66090 | Bayamon Medical Center |  | CAT2 |  | 1 | Petroleum Liquids with IC | DFO | IC | 2012-01-01 |  | (SB) Standby/Backup: available for service but not normally used
66090 | Bayamon Medical Center |  | GEN-R |  | 0.4 | Petroleum Liquids with IC | DFO | IC | 2007-07-01 |  | (SB) Standby/Backup: available for service but not normally used
66090 | Bayamon Medical Center |  | GENHL |  | 1 | Petroleum Liquids with IC | DFO | IC | 2022-08-01 |  | (SB) Standby/Backup: available for service but not normally used
66091 | Puerto Rico Women's & Children's Hosp |  | CATPR |  | 1 | Petroleum Liquids with IC | DFO | IC | 2019-03-01 |  | (SB) Standby/Backup: available for service but not normally used
66091 | Puerto Rico Women's & Children's Hosp |  | KATO |  | 1 | Petroleum Liquids with IC | DFO | IC | 2007-08-01 |  | (SB) Standby/Backup: available for service but not normally used
66092 | Caribbean Medical Center |  | 1 |  | 0.6 | Petroleum Liquids with IC | DFO | IC | 2018-07-01 |  | (SB) Standby/Backup: available for service but not normally used
66092 | Caribbean Medical Center |  | 3 |  | 0.6 | Petroleum Liquids with IC | DFO | IC | 2001-11-01 |  | (SB) Standby/Backup: available for service but not normally used
66092 | Caribbean Medical Center |  | OPD1 |  | 0.1 | Petroleum Liquids with IC | DFO | IC | 2018-07-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P1 |  | 0.2 | Petroleum Liquids with IC | DFO | IC | 1995-09-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P10 |  | 0.3 | Petroleum Liquids with IC | DFO | IC | 1990-01-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P13 |  | 0.4 | Petroleum Liquids with IC | DFO | IC | 2011-02-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P14 |  | 0.1 | Petroleum Liquids with IC | DFO | IC | 2018-04-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P2 |  | 0.3 | Petroleum Liquids with IC | DFO | IC | 1996-09-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P3 |  | 0.3 | Petroleum Liquids with IC | DFO | IC | 2000-06-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P4 |  | 0.3 | Petroleum Liquids with IC | DFO | IC | 1998-09-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P5 |  | 0.1 | Petroleum Liquids with IC | DFO | IC | 2018-09-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P8 |  | 0.1 | Petroleum Liquids with IC | DFO | IC | 1990-01-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | 67P9 |  | 0.3 | Petroleum Liquids with IC | DFO | IC | 1990-01-01 |  | (SB) Standby/Backup: available for service but not normally used
66096 | Bacardi Catano Plant |  | COGEN |  | 3 | Petroleum Liquids with ST | RFO | ST | 2009-07-01 |  | (OP) Operating
66101 | Mayaguez Medical Center |  | 2MCAT |  | 1.8 | Petroleum Liquids with IC | DFO | IC | 2019-08-01 |  | (SB) Standby/Backup: available for service but not normally used
66101 | Mayaguez Medical Center |  | 2MCUM |  | 1.8 | Petroleum Liquids with IC | DFO | IC | 2022-12-01 |  | (OP) Operating
66101 | Mayaguez Medical Center |  | 4CUM |  | 0.4 | Petroleum Liquids with IC | DFO | IC | 2010-12-01 |  | (SB) Standby/Backup: available for service but not normally used
66127 | Hewlett Packard Puerto Rico |  | CG1 |  | 4 | Natural Gas Internal Combustion Engine | NG | IC | 2022-11-01 |  | (OP) Operating
66134 | Manati Medical Center | San Juan | CAT1 |  | 1.2 | Petroleum Liquids with IC | DFO | IC | 2018-07-01 |  | (SB) Standby/Backup: available for service but not normally used
66134 | Manati Medical Center | San Juan | CUM2 |  | 1.2 | Petroleum Liquids with IC | DFO | IC | 2010-01-01 |  | (SB) Standby/Backup: available for service but not normally used

## pr_combined_op_units
plant_id | plant_name | county | gen_id | unit_id | summer_capacity_mw | technology | fuel | prime_mover | operating_date | retirement_date | status | energy_capacity_mwh | DC Net Capacity (MW) | heat_rate | zone
61014 | Pattern Santa Isabel LLC | Santa Isabel | 1 |  | 75 | Onshore Wind Turbine | WND | WT | 2012-11-01 |  | (OP) Operating |  |  |  | South
61034 | EcoElectrica | Penuelas | CT1 | CT1 | 183 | Natural Gas Fired Combined Cycle | NG | CT | 2018-09-01 |  | (OP) Operating |  |  | 11.8686 | South
61034 | EcoElectrica | Penuelas | CT2 | CT2 | 183 | Natural Gas Fired Combined Cycle | NG | CT | 2000-03-01 |  | (OP) Operating |  |  | 11.8686 | South
61034 | EcoElectrica | Penuelas | STG | STG | 214 | Natural Gas Fired Combined Cycle | NG | CA | 2000-03-01 |  | (OP) Operating |  |  | 11.8686 | South
61036 | AES ILUMINA | Guayama | ILUMI |  | 17.5 | Solar Photovoltaic | SUN | PV | 2012-11-01 | 2042-11-01 | (OP) Operating |  | 23.7 |  | South
61062 | Coto Laurel Solar Farm | Ponce | CLSF |  | 10 | Solar Photovoltaic | SUN | PV | 2020-02-01 |  | (OP) Operating |  | 14.3 |  | South
61063 | Martino | Ponce | MATNO |  | 3.6 | Solar Photovoltaic | SUN | PV | 2011-01-01 |  | (OP) Operating |  | 4.1 |  | South
61064 | Pfizer Guayama | Guayama | PFGY |  | 2.7 | Solar Photovoltaic | SUN | PV | 2016-01-01 |  | (OP) Operating |  | 3.3 |  | South
61065 | Pfizer Vega Baja | Vega Baja | PFVB |  | 3.1 | Solar Photovoltaic | SUN | PV | 2016-01-01 |  | (OP) Operating |  | 3.9 |  | North
61082 | AES Puerto Rico | Guayama | UNIT1 |  | 454.4 | Conventional Steam Coal | BIT | ST | 2001-11-01 |  | (OP) Operating |  |  | 11.0089 | South
61083 | Oriana Energy Hybrid | Isabela | BAT1 |  | 21.8 | Batteries | MWH | BA | 2016-12-01 |  | (OP) Operating | 4.2 |  |  | West
61083 | Oriana Energy Hybrid | Isabela | G001 |  | 45 | Solar Photovoltaic | SUN | PV | 2016-12-01 |  | (OP) Operating |  | 57.7 |  | West
61102 | GASNA 18P, LLC | San Juan | UNIT1 |  | 5 | Solar Photovoltaic | SUN | PV | 2014-04-01 |  | (OP) Operating |  | 5.6 |  | North
61109 | Fajardo MSWL | Fajardo | PE558 |  | 2.4 | Landfill Gas | LFG | IC | 2016-10-01 |  | (OP) Operating |  |  |  | East
61110 | San Fermin Solar Farm Hybrid | Canovanas | BESS |  | 3.6 | Batteries | MWH | BA | 2015-12-01 |  | (OP) Operating | 0.3 |  |  | East
61110 | San Fermin Solar Farm Hybrid | Canovanas | DSL |  | 4 | Petroleum Liquids with IC | DFO | IC | 2015-12-01 |  | (OP) Operating |  |  | 10.1538 | East
61110 | San Fermin Solar Farm Hybrid | Canovanas | PV |  | 20 | Solar Photovoltaic | SUN | PV | 2015-12-01 |  | (OP) Operating |  | 27 |  | East
61112 | El Yunque Filtration Plant | Rio Grande | YUNQ |  | 2 | Solar Photovoltaic | SUN | PV | 2013-11-01 |  | (OP) Operating |  | 2.6 |  | East
61113 | Arecibo Filtration Plant | Arecibo | AREC |  | 1 | Solar Photovoltaic | SUN | PV | 2014-01-01 |  | (OP) Operating |  | 1.3 |  | North
61114 | Canovanas Filtration Plant | Canovanas | CANO |  | 1 | Solar Photovoltaic | SUN | PV | 2013-02-01 |  | (OP) Operating |  | 1.2 |  | East
61122 | Toa Baja MSWL | Toa Baja | PE563 |  | 0.8 | Landfill Gas | LFG | IC | 2020-11-01 |  | (OP) Operating |  |  |  | North
61122 | Toa Baja MSWL | Toa Baja | PE564 |  | 1.6 | Landfill Gas | LFG | IC | 2020-11-01 |  | (OP) Operating |  |  |  | North
61133 | Humacao Solar Project, LLC | Humacao | HUM01 |  | 20 | Solar Photovoltaic | SUN | PV | 2016-12-01 |  | (OP) Operating |  | 25.5 |  | East
61136 | Horizon Energy (PR) Hybrid | Salinas | BAT1 |  | 5.1 | Batteries | MWH | BA | 2015-08-01 |  | (OP) Operating | 1.3 |  |  | South
61136 | Horizon Energy (PR) Hybrid | Salinas | G001 |  | 10 | Solar Photovoltaic | SUN | PV | 2015-08-01 |  | (OP) Operating |  | 15.5 |  | South
61137 | Medtronic Solar | Juncos | PV1 |  | 4 | Solar Photovoltaic | SUN | PV | 2019-12-01 |  | (OP) Operating |  | 5 |  | East
61146 | Aguirre Plant | Salinas | 1 |  | 424.9 | Petroleum Liquids with ST | RFO | ST | 1975-05-01 |  | (OP) Operating |  |  | 11.2863 | South
61146 | Aguirre Plant | Salinas | 2 |  | 424.9 | Petroleum Liquids with ST | RFO | ST | 1975-10-01 |  | (OP) Operating |  |  | 11.2863 | South
61146 | Aguirre Plant | Salinas | CC1 | CC1 | 284.7 | Petroleum Liquids with CC | DFO | CT | 1977-07-01 |  | (OP) Operating |  |  | 14.756 | South
61146 | Aguirre Plant | Salinas | CC2 | CC2 | 284.7 | Petroleum Liquids with CC | DFO | CT | 1977-05-01 |  | (OP) Operating |  |  | 14.756 | South
61146 | Aguirre Plant | Salinas | GT2-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1972-07-01 |  | (OP) Operating |  |  | 11.382 | South
61147 | Costa Sur Plant |  | 3 |  | 80.8 | Petroleum Liquids with ST | RFO | ST | 1962-03-01 |  | (OP) Operating |  |  | 11.6703 | South
61147 | Costa Sur Plant |  | 4 |  | 78.1 | Petroleum Liquids with ST | RFO | ST | 1963-12-01 |  | (OP) Operating |  |  | 11.6703 | South
61147 | Costa Sur Plant |  | 5 |  | 384 | Natural Gas Steam Turbine | NG | ST | 1972-09-01 |  | (OP) Operating |  |  | 11.6703 | South
61147 | Costa Sur Plant |  | 6 |  | 381.6 | Natural Gas Steam Turbine | NG | ST | 1973-09-01 |  | (OP) Operating |  |  | 11.6703 | South
61147 | Costa Sur Plant |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1972-05-01 |  | (OP) Operating |  |  | 11.3735 | South
61148 | Central San Juan Plant |  | 10 |  | 78.6 | Petroleum Liquids with GT | RFO | ST | 1969-02-01 |  | (OP) Operating |  |  | 11.7243 | North
61148 | Central San Juan Plant |  | 7 |  | 91.5 | Petroleum Liquids with ST | RFO | ST | 1965-05-01 | 2025-12-01 | (OP) Operating |  |  | 11.7243 | North
61148 | Central San Juan Plant |  | 8 |  | 92.7 | Petroleum Liquids with ST | RFO | ST | 1966-08-01 | 2025-12-01 | (OP) Operating |  |  | 11.7243 | North
61148 | Central San Juan Plant |  | 9 |  | 91.7 | Petroleum Liquids with ST | RFO | ST | 1968-06-01 |  | (OP) Operating |  |  | 11.7243 | North
61148 | Central San Juan Plant |  | CC5 | CC5 | 429.4 | Petroleum Liquids with CC | DFO | CT | 2008-10-01 |  | (OP) Operating |  |  | 9.9252 | North
61149 | Palo Seco Plant |  | 1 |  | 78.3 | Petroleum Liquids with ST | RFO | ST | 1960-06-01 |  | (OP) Operating |  |  | 10.9852 | North
61149 | Palo Seco Plant |  | 1-1 |  | 21 | Petroleum Liquids with GT | DFO | GT | 1972-12-01 |  | (OP) Operating |  |  | 12.4436 | North
61149 | Palo Seco Plant |  | 1-2 |  | 21 | Petroleum Liquids with GT | DFO | GT | 1972-12-01 |  | (OP) Operating |  |  | 12.4436 | North
61149 | Palo Seco Plant |  | 2 |  | 78.8 | Petroleum Liquids with ST | RFO | ST | 1961-03-01 |  | (OP) Operating |  |  | 10.9852 | North
61149 | Palo Seco Plant |  | 2-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1972-12-01 |  | (OP) Operating |  |  | 12.4436 | North
61149 | Palo Seco Plant |  | 3 |  | 196.3 | Petroleum Liquids with ST | RFO | ST | 1970-02-01 |  | (OP) Operating |  |  | 10.9852 | North
61149 | Palo Seco Plant |  | 3-1 |  | 21 | Petroleum Liquids with GT | DFO | GT | 1973-02-01 |  | (OP) Operating |  |  | 12.4436 | North
61149 | Palo Seco Plant |  | 3-2 |  | 21 | Petroleum Liquids with GT | DFO | GT | 1973-03-01 |  | (OP) Operating |  |  | 12.4436 | North
61149 | Palo Seco Plant |  | 4 |  |  | Petroleum Liquids with ST | RFO | ST | 1970-07-01 |  | (OP) Operating |  |  | 10.9852 | North
61150 | Cambalache Plant | Arecibo | GT-1 |  | 80.5 | Petroleum Liquids with GT | DFO | GT | 1997-04-01 |  | (OP) Operating |  |  | 12.7833 | North
61150 | Cambalache Plant | Arecibo | GT-2 |  | 80.5 | Petroleum Liquids with GT | DFO | GT | 1977-05-01 |  | (OP) Operating |  |  | 12.7833 | North
61150 | Cambalache Plant | Arecibo | GT-3 |  | 80.5 | Petroleum Liquids with GT | DFO | GT | 1997-06-01 |  | (OP) Operating |  |  | 12.7833 | North
61151 | Mayaguez Plant |  | GT-1 |  | 220 | Petroleum Liquids with GT | DFO | GT | 2009-04-01 |  | (OP) Operating |  |  | 10.2781 | West
61171 | Jobos |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1973-04-01 |  | (OP) Operating |  |  |  | East
61225 | Caonillas |  | 1 |  | 18 | Conventional Hydroelectric | WAT | HY | 1949-01-01 |  | (OP) Operating |  |  |  | North
61225 | Caonillas |  | 3 |  | 4 | Conventional Hydroelectric | WAT | HY | 1952-09-01 |  | (OP) Operating |  |  |  | North
61226 | Culebra | Culebra | 1 |  | 2.1 | Petroleum Liquids with IC | RFO | IC | 1972-01-01 |  | (OP) Operating |  |  |  | 0
61227 | Daguao |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1972-08-01 |  | (OP) Operating |  |  |  | East
61228 | Dos Bocas | Arecibo | 1 |  | 5 | Conventional Hydroelectric | WAT | HY | 1942-08-01 |  | (OP) Operating |  |  |  | North
61228 | Dos Bocas | Arecibo | 2 |  | 5 | Conventional Hydroelectric | WAT | HY | 1944-11-01 |  | (OP) Operating |  |  |  | North
61228 | Dos Bocas | Arecibo | 3 |  | 5 | Conventional Hydroelectric | WAT | HY | 1945-11-01 |  | (OP) Operating |  |  |  | North
61229 | Garzas |  | 1 |  | 7.2 | Conventional Hydroelectric | WAT | HY | 1941-02-01 |  | (OP) Operating |  |  |  | South
61229 | Garzas |  | 3 |  | 5 | Conventional Hydroelectric | WAT | HY | 1941-03-01 |  | (OP) Operating |  |  |  | South
61230 | Patillas |  | 1 |  | 1.6 | Conventional Hydroelectric | WAT | HY | 1985-04-01 |  | (OP) Operating |  |  |  | East
61232 | Vega Baja |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1971-10-01 |  | (OP) Operating |  |  |  | North
61233 | Vieques |  | 1 |  | 6.4 | Petroleum Liquids with IC | RFO | IC | 2004-09-01 |  | (OP) Operating |  |  |  | 0
61234 | Yabucoa |  | GT-1 |  | 42 | Petroleum Liquids with GT | DFO | GT | 1971-10-01 |  | (OP) Operating |  |  |  | East
61235 | Yauco |  | 1 |  | 29.5 | Conventional Hydroelectric | WAT | HY | 1956-02-01 |  | (OP) Operating |  |  |  | South
61235 | Yauco |  | 2 |  | 4.5 | Conventional Hydroelectric | WAT | HY | 1956-04-01 |  | (OP) Operating |  |  |  | South
61236 | Rio Blanco |  | 1 |  | 5 | Conventional Hydroelectric | WAT | HY | 1929-12-01 |  | (OP) Operating |  |  |  | East
61254 | Fort Buchanan Distributed Generation | Guaynabo | SOLAR |  | 5.8 | Solar Photovoltaic | SUN | PV | 2014-08-01 |  | (OP) Operating |  | 5.9 |  | North
61254 | Fort Buchanan Distributed Generation | Guaynabo | WIND |  | 0.6 | Onshore Wind Turbine | WND | WT | 2014-08-01 |  | (OP) Operating |  |  |  | North
61659 | Janssen Ortho LLC | Gurabo | SOLAR |  | 2.2 | Solar Photovoltaic | SUN | PV | 2015-12-01 |  | (OP) Operating |  | 2.6 |  | East
62410 | Cervecera de Puerto Rico | Mayaguez | CHP01 |  | 1.8 | Petroleum Liquids with IC | PG | IC | 2020-07-01 |  | (OP) Operating |  |  |  | West
66056 | iPR Pharmaceuticals Inc. |  | GSET1 |  | 3.2 | Natural Gas Internal Combustion Engine | NG | IC | 2018-04-01 |  | (OP) Operating |  |  |  | East
66057 | AbbVie LTD |  | CG1 |  | 9.2 | Natural Gas Internal Combustion Engine | NG | IC | 2020-01-01 |  | (OP) Operating |  |  |  | North
66057 | AbbVie LTD |  | CG2 |  | 9.2 | Natural Gas Internal Combustion Engine | NG | IC | 2019-11-01 |  | (OP) Operating |  |  |  | North
66096 | Bacardi Catano Plant |  | COGEN |  | 3 | Petroleum Liquids with ST | RFO | ST | 2009-07-01 |  | (OP) Operating |  |  |  | North
66101 | Mayaguez Medical Center |  | 2MCUM |  | 1.8 | Petroleum Liquids with IC | DFO | IC | 2022-12-01 |  | (OP) Operating |  |  |  | West
66127 | Hewlett Packard Puerto Rico |  | CG1 |  | 4 | Natural Gas Internal Combustion Engine | NG | IC | 2022-11-01 |  | (OP) Operating |  |  |  | North

## Sheet3
plant_name | zone | zone (municipality)
Pattern Santa Isabel LLC | South | Santa Isabel
EcoElectrica | South | Penuelas
AES Ilumina | South | Guayama
Coto Laurel Solar Farm | South | Ponce
Martino | South | Ponce
Pfizer Guayama | South | Guayama
Pfizer Vega Baja | North | Vega Baja
AES Puerto Rico | South | Guayama
Oriana Energy Hybrid | West | Isabela
GASNA 18P, LLC | North | San Juan
Fajardo MSWL | East | Fajardo
San Fermin Solar Farm Hybrid | East | Canovanas
El Yunque Filtration Plant | East | Rio Grande
Arecibo Filtration Plant | North | Arecibo
Canovanas Filtration Plant | East | Canovanas
Toa Baja MSWL | North | Toa Baja
Punta Lima Wind Farm | East | Naguabo
Humacao Solar Project, LLC | East | Humacao
Horizon Energy (PR) Hybrid | South | Salinas
Medtronic Solar | East | Juncos
Aguirre Plant | South | Salinas
Costa Sur Plant | South
Central San Juan Plant | North | San Juan
Palo Seco Plant | North | Toa Baja
Cambalache Plant | North | Arecibo
Mayaguez Plant | West | Mayaguez
Jobos | East | Jobos
Caonillas | North | Caonillas
Culebra |  | Culebra
Daguao | East | Daguao
Dos Bocas | North | Arecibo
Garzas | South | Garzas
Patillas | East | Patillas
Toro Negro | South | Toro Negro
Vega Baja | North | Vega Baja
Vieques |  | Vieques
Yabucoa | East | Yabucoa
Yauco | South | Yauco
Rio Blanco | East | Rio Blanco
Fort Buchanan Distributed Generation | North | Guaynabo
USCG Puerto Rico PV | West | Aguadilla
Holsum de Puerto Rico, Inc. | North | Toa Baja
Janssen Ortho LLC | East | Gurabo
HIMA San Pablo - Caguas | East | Caguas
Cervecera de Puerto Rico | West | Mayaguez
HIMA San Pablo Bayamon | North | Bayamon
HIMA San Pablo Fajardo | East | Fajardo
HIMA San Pablo Cupey | North | Cupey
HIMA San Pablo Humacao | West | Humacao
Eaton Corp - Arecibo - Puerto Rico Hybrid | North | Arecibo
Hospital Auxilio Mutuo | North
iPR Pharmaceuticals Inc. | East
AbbVie LTD | North
Bayamon Medical Center | North | Bayamon
Puerto Rico Women's & Children's Hosp | North
Caribbean Medical Center | East
Bacardi Catano Plant | North
Mayaguez Medical Center | West | Mayaguez
Hewlett Packard Puerto Rico | North
Manati Medical Center | North | San Juan